| 1. Component DEF (TMA) | FY 2008 MILITARY CONSTRUCTION PROJECT DATA | 2. Date SEP 2007 |
| --- | --- | --- |
| 3. Installation and Location/UIC: Bethesda Naval Hospital, Maryland | 4. Project Title: BRAC – Consolidation of Administrative Spaces Incr 1 |
| 5. Program Element 87717D | 6. Category Code 610 | 7. Project Number 70164 | 8. Project Cost ($000) Auth 101,000 Appr 91,400 |
| 9. COST ESTIMATES |
| Item | U/M | Quantity | Unit Cost | Cost ($000) |
| PRIMARY FACILITIES Building 17 Renovation Building 17 Addition Warrior Transition Unit Admin Building Commissioning Environmental Mitigation SDD (LEED) and EPAct05 Antiterrorism Measure Building Information System | SF SF SF LS LS LS LS LS | 82,173 114,000 41,000 -- -- -- -- -- | 157.41 209.88 218.32 -- -- -- -- -- | 55,203 (12,935) (23,926) (8,951) (458) (3,371) (1,374) (2,291) (1,897) |
| SUPPORTING FACILITIES Electric Service Water, Sewer, Gas Paving, Walks, Curbs And Gutters Storm Drainage Site Imp (3,298) Demo (14,000) Information Systems Antiterrorism Measures Hazardous Material Abatement Other | LS LS LS LS LS LS LS LS LS | -- -- -- -- -- -- -- -- -- | -- -- -- -- -- -- -- -- -- | 32,011 (1,924) (1,924) (1,099) (1,649) (17,298) (1,099) (916) (5,618) (450) |
| ESTIMATED CONTRACT COST CONTINGENCY PERCENT (6.55%) SUBTOTAL SUPERVISION, INSPECTION & OVERHEAD (5.70%) DESIGN/BUILD – DESIGN COST (4..23%) CATEGORY E EQUIPMENT TOTAL REQUEST TOTAL REQUEST (ROUNDED) INSTALLED EQT-OTHER APPROPRIATIONS |  |  |  | 87,214 4,962 92,176 5,254 (3,687) (0) 101,117 101,000 (10,100) |
| 10. Description of Proposed Construction: Construct a multi-story building and renovate an existing building to support consolidation of various administrative spaces on the campus. Environmental cleanup and disposal of contaminated debris and renovation of existing buildings. Support facilities include all utilities and operation and maintenance manuals. This project will be designed in accordance with criteria prescribed in Unified Facilities Criteria (UFC) 4-510-01 (MIL-HDBK-1191), DoD Minimum Antiterrorism Standards for Buildings UFC 4-010-01, and Americans with Disabilities Act and Architectural Barriers Act Accessibility Guidelines (ADA/ABAAG). Various existing unused administrative buildings will be demolished. Comprehensive interior design services, operations and maintenance manuals will be provided. Air Conditioning: 475 Tons |
| 11. REQ: 237,173 SF ADQT: NONE SUBSTD: 82,173 SF PROJECT: Renovate 82,173 SF of building 17. REQUIREMENT: Consolidate various administrative support spaces on the National Naval Medical Center medical campus to improve synergies and free up space for other BRAC requirements. Also includes Warrior Transition Unit Administrative spaces to support the mission. CURRENT SITUATION: Building 17 has been vacant for over 10 years. Since it was a medical research lab, numerous contaminates and environmental hazards removed prior to any use. It is structurally sound and of masonry construction. IMPACT IF NOT PROVIDED: If this project is not provided, Building 17 cannot be used and excess administrative buildings demolished. Environmental cleanup and abatement will help prevent the contamination from getting worse. JOINT USE CERTIFICATION: The Director, Portfolio Planning Management Office has reviewed this project for joint use potential. Joint use construction is/is not recommended. |
| 12. Supplemental Data: A. Design Data (Estimated): (1) Status: (a) Design Start Date D/B (b) Percent of Design Completed as of 1 Jan 2007 N/A (c) Expected 35% Design Date N/A (d) 100% Design Completion Date N/A (e) Parametric Design (Yes or No) Y (f) Type of Design Contract: D/B (g) Energy Studies & Life Cycle Analysis Performed (Yes or No) Y (2) Basis: (a) Standard or Definitive Design - (YES/NO) N (b) Where Design Was Most Recently Used N/A (3) Total Design Cost (c)=(a)+(b) OR (d)+(e): (a) Production of Plans and Specifications 500 (b) All Other Design Costs 116 (c) Total Design Cost 616 (d) Contract 480 (e) In-house 136 (4) Construction Contract Award Date Jan 2008 (5) Construction Start Date Feb 2008 (6) Construction Completion Date Feb 2010 B. Equipment associated with this project which will be provided from other appropriations: Equipment Nomenclature Procuring Appropriation Fiscal Year Appropriated Or Requested Cost ($000) Initial Outfitting O&M 2009 10,100 Chief, Acquisition and Management Office: Mr. Surinder K. Sharma, P.E. Phone Number: 703-681-4324 |

# Text boxes

DD FORM 1391, JUL 1999

DD FORM 1391C, JUL 1999

DD FORM 1391C, JUL 1999

BRAC 2005 – 173h

BRAC 2005 – 173i

BRAC 2005 – 173j